## Exercise Aitua - Direction to Revise Demand Curtailment Notice

| Date: | 13 May 2026 |
| --- | --- |
| Time: | 11:55am |
| Notice Number: | CC-095 |
| Notice Type: | Direction to Revise Demand Curtailment |
| Notice Issued to: | Firstgas TSO |
| Notice Copied to: | Stakeholders listed in Information Guide |
| CCO Instruction to TSO: | Within 30 minutes of receiving this notice, issue notice of Direction to Revise Demand Curtailment to Large Consumers and Retailers in accordance with the directions set out below. Ensure an appropriate critical notice is posted on OATIS as soon as reasonably practicable. For the avoidance of doubt this notice supersedes the original Notice of Direction to Curtail Demand. It includes all demand previously directed for curtailment and all additional demands to be curtailed. |
| Critical Contingency Declaration Time & Date: | 09:08 on 13 May 2026 |
| Event causing Critical Contingency: | Damage to the Firstgas Bay of Plenty Pipeline in the Waikato at Arapuni resulting in a significant gas escape. |
| Summary of actions being taken to resolve event and estimated time to resolve: | Firstgas has isolated the Bay of Plenty pipeline between Parawera Road Main Line Valve and Arapuni West Main Line Valve. The pipeline damage has been assessed, and the damaged section will need to be cut-out and replaced. Repairs are now estimated to take at least 96 hours. Further load curtailment of Bands 5 and 6 is now required to stabilise the transmission system downstream of the isolated section while the repairs are carried out. |
| Regional Critical Contingency Status: | Regional |
| Transmission pipeline(s) affected: | The Firstgas Bay of Plenty Pipeline. |
| Geographic area affected: | Rotorua, Taupo, the Bay of Plenty and Gisborne. |
| Gas gates affected: | See list of gas gates below |
| Demand Curtailment Compliance Updates Frequency: | Initial update by 1pm and then every 2 hours. |

## Demand Curtailment Directions

| Band | Approved Designation | Gate # | Gas Gate Name | Curtailment Direction |
| --- | --- | --- | --- | --- |
| 0 |  | STR00511 | AHUROA STORAGE FACILITY (Stratford #3) | Not affected |
| 1 | Electricity Supply | HPS02993 | HUNTLY POWER STATION (Rankin Units 1-4) | Not affected |
| 2 |  | HPS02993 | HUNTLY POWER STATION (Units 5 & 6) | Not affected |
| 2 | Critical Processing | NGA00669 | NGATIMARU RD (DELIVERY) (Mx Motunui) | Not affected |
| 2 | Critical Processing | FAU00653 | FAULL RD (Mx Motunui) | Not affected |
| 2 | Critical Processing | BER00564 | BERTRAND RD (Mx Waitara Valley) | Not affected |
| 2 | Critical Processing | BAL08201 | BALLANCE AMMONIA-UREA (Fuel) | Not affected |
| 2 | Critical Processing | BAL09626 | BALLANCE AMMONIA-UREA (Process) | Not affected |
| 2 |  | STR00521 | STRATFORD POWER STATION PEAKERS (Stratford #2) | Not affected |
| 2 |  | MAN39001 | MANGOREI DELIVERY POINT | Not affected |

| Band | Approved Designation | Description | Curtailment Direction |
| --- | --- | --- | --- |
| 3 | None | Industrial and commercial consumers >10 TJ/annum | Curtail all demand immediately |
|  | Critical Processing | Industrial and commercial consumers >10 TJ/annum with an approved designation. | Curtail all demand immediately |
| 4 | None | Medium-sized industrial and commercial consumers >250 GJ/annum | Curtail all demand immediately |
|  | Critical Processing | Medium-sized industrial and commercial consumers >250 GJ/annum with an approved designation. | Curtail all demand immediately |
| 5 | Essential Services | Consumers >2 TJ/annum with an approved designation | Curtail all demand immediately |
| 6 | Not Applicable | Small commercial customers < 250 GJ/annum | Curtail all demand immediately |
| 7 | Critical Care | Consumers of any size consumption with approved designation | Not affected |

| Gas Gates Affected by Curtailment Direction for Bands 3-7 |  |  |
| --- | --- | --- |
| Gas Gate Name | Gas Gate Code | Pipeline Sub-System |
| BROADLANDS | BRO36301 | Bay of Plenty |
| EDGECUMBE | EGC30702 | Bay of Plenty |
| EDGECUMBE DF | EGC30701 | Bay of Plenty |
| GISBORNE | GIS07810 | Bay of Plenty |
| KAWERAU | KAW04405 | Bay of Plenty |
| KAWERAU (EX-CAXTON) | KAW04410 | Bay of Plenty |
| KAWERAU (EX-TASMAN) | KAW04411 | Bay of Plenty |
| KINLEITH | KIN02601 | Bay of Plenty |
| KINLEITH (CHH MILL) | KIN04310 | Bay of Plenty |
| LICHFIELD 2 | LCF20011 | Bay of Plenty |
| LICHFIELD DF | LCF20010 | Bay of Plenty |
| MT MAUNGANUI | MMU08001 | Bay of Plenty |
| OKOROIRE SPRINGS | OKS32801 | Bay of Plenty |
| OPOTIKI | OPO32001 | Bay of Plenty |
| PAPAMOA | PPA33201 | Bay of Plenty |
| PUTARURU | PTR32601 | Bay of Plenty |
| PYES PA | PYE36601 | Bay of Plenty |
| RANGIURU | RAG33401 | Bay of Plenty |
| REPOROA | RPR30801 | Bay of Plenty |
| REPOROA DF | RPR30802 | Bay of Plenty |
| ROTORUA | ROT08101 | Bay of Plenty |
| TAUPO | TAU07001 | Bay of Plenty |
| TAURANGA | TRG07701 | Bay of Plenty |
| TAURIKO | TKO39301 | Bay of Plenty |
| TE PUKE | TPK33301 | Bay of Plenty |
| TE TEKO | TTK30601 | Bay of Plenty |
| TIRAU | TIR33502 | Bay of Plenty |
| TIRAU DF | TIR33501 | Bay of Plenty |
| TOKOROA | TKR19701 | Bay of Plenty |
| WHAKATANE | WHK32101 | Bay of Plenty |

This notice is issued under Regulation 53(1)(d)(ii) of the Gas Governance (Critical Contingency Management) Regulations 2008 and amendments.  All directions issued by the CCO must be complied with.

This notice is issued in accordance with the General Critical Contingency Notice Conditions contained in the CCO Information Guide, CCO Communications Plan and First Gas CCMP.

The CCO will issue advice of this Notice of Direction to Revise Demand Curtailment to the stakeholders listed in the CCO Information Guide and publish this notice in the public domain of the CCO web site at https://www.cco.org.nz/current-event/