## READ FIRST!
THIS IS THE LARGE CONSUMER CURTAILMENT COMPLIANCE TEMPLATE
A SEPARATE CURTAILMENT COMPLIANCE TEMPLATE IS USED BY RETAILERS (located at Publications section of www.oatis.co.nz or cco.org.nz)
When does this Large Consumer template (and updates) need to be completed and sent?
> During a curtailment under the CCM Regulations all Large Consumers, as directed, send through completed template and/or updates by the deadlines set out in the curtailment notices
Which templates need to be completed?
> Curtailment bands 0-2, "Large Consumers" - Use the Large Consumers template in the "Large Consumers" tab in this spreadsheet
What needs to be completed in the template?
Large Consumers template:
> The Company, Date and Time Submitted fields
> The pale blue sections on the Large Consumer template for all of your affected Large Consumers connected to the Firstgas Transmission System
> Note the distinction on the Large Consumers template between:
1 Large Consumer WITHOUT designations
2 Large Consumers WITH designations
NOTE: Compliance updates do not need to continue once full compliance has been achieved (and notified to Firstgas).
NOTE: Further specific information on how to populate the attachment is included on the "Large Consumer" tab in this spreadsheet
Who do the template and updates need to be sent to?
> Completed templates and/or updates are to be e-mailed to:
critical.compliance@firstgas.co.nz
bbkcontrolroom@firstgas.co.nz
> If the templates and/or updates cannot be sent by e-mail refer to alternative Firstgas contact details in the Critical Contingency Management Plan (located at www.oatis.co.nz)
Why do the templates and updates need to be sent?
Large Consumers are required to provide compliance updates in accordance with regulation 55 of Gas Governance Critical Contingency Management Regulations
Other General Details
Large Consumer approved and ICP Critical Processing are as per GIC Active Designations:
https://www.gasindustry.co.nz/our-work/work-programmes/critical-contingency-management/current-arrangements/active-designations/
Phone for Support / Enquiries: 06 769 8202

## Large Consumer
Large Consumers Demand Curtailment Compliance Update | [5 empty] | Phone for Support / Enquiries: 06 769 8202
I. Large Consumers WITHOUT Approved Designations under CCM Regulations
Company:
Date:
Time Submitted:
Gas Gate Code | Gas Gate Name | Curtailment Band | Time Curtailment Instruction Received | Consumption When Instruction Received |  | Time All Consumption Ceased
|  |  |  | SCMS | GJ/hr
STR00511 | AHUROA STORAGE FACILITY (Stratford 3 Delivery Point) | 0
HPS02993 | HUNTLY POWER STATION (Units 5 & 6) | 2
STR00521 | STRATFORD POWER STATION PEAKERS (Stratford #2) | 2
MEI39010 | MANGOREI PEAKER STATION | 2
II. Large Consumers WITH Approved Designations under CCM Regulations
Company:
Date:
Time Submitted:
Large Consumers with an approved designation are required to use the tables below to provide a forecast of consumption (GJ/hr) in their first curtailment compliance update (Section 1) and then actual consumption figures in subsequent updates (Section 2). Updates are to be provided at the frequency set out in the most recent Curtailment Notice. Large Consumers that hold a Critical Processing designation must stop using gas at their designated consumer installation when a curtailment direction is give in respect of curtailment Band 4 C = Approved Critical Processing Designation E = Approved Electricity Supply Designation
Fill Section 1 in at the time the Curtailment Direction is received with your forecasted consumption profile through to shut down. Once filled in Section 1 does not need to be updated
SECTION 1 - FORECAST USAGE BASED ON SHUTDOWN PROFILE
Gas Gate Code | Gas Gate Name | Curtailment Band | Forecast Consumption (GJ/hr)
|  |  | At time of curtailment | +1 hour | +2 hours | +3 hours | +4 hours | +5 hours | +6 hours | +7 hours | +8 hours
HPS02993 | HUNTLY POWER STATION (Rankine units 1-4) | 1E
BER00564 | BERTRAND ROAD (WAITARA VALLEY) (Methanex) | 2C
FAU00653 | FAULL ROAD (Methanex) | 2C
NGA00669 | NGATIMARU RD (DELIVERY) (Methanex) | 2C
BAL08201 | BALLANCE AMMONIA-UREA (Fuel) | 2C
BAL09626 | BALLANCE AMMONIA-UREA (Process) | 2C
Fill in Section 2 each hour as your plant (s) progress through their approved shutdown profile to show actual consumption (GJ/hr), and provide curtailment compliance updates at the frequency set out in the Curtailment Notice
SECTION 2 - ACTUAL USAGE TO BE COMPLETED AS SHUTDOWN PROGRESSES
Gas Gate Code | Gas Gate Name | Curtailment Band | Permission details from CCO | Actual Consumption (GJ/hr) after curtailment instruction received
|  |  |  | +1 hour | +2 hours | +3 hours | +4 hours | +5 hours | +6 hours | +7 hours | +8 hours
HPS02993 | HUNTLY POWER STATION (Rankine units 1-4) | 1E
Gas Gate Code | Gas Gate Name | Curtailment Band | Consumption at time of curtailment GJ/hr | Actual Consumption (GJ/hr) after curtailment instruction received
|  |  |  | +1 hour | +2 hours | +3 hours | +4 hours | +5 hours | +6 hours | +7 hours | +8 hours
BER00564 | BERTRAND ROAD (WAITARA VALLEY) (Methanex) | 2C
FAU00653 | FAULL ROAD (Methanex) | 2C
NGA00669 | NGATIMARU RD (DELIVERY) (Methanex) | 2C
BAL08201 | BALLANCE AMMONIA-UREA (Fuel) | 2C
BAL09626 | BALLANCE AMMONIA-UREA (Process) | 2C
Email completed form to: critical.compliance@firstgas.co.nz; bbkcontrolroom@firstgas.co.nz
Email completed form to: critical.compliance@firstgas.co.nz; bbkcontrolroom@firstgas.co.nz